## Services BOQ
Trade | Item | Unit | Quantity | Rate (Rs.) | Notes
Electrical | Main Distribution Board (MDB) 100A TPN | No. | 1 | 28000
Electrical | Sub Distribution Board (SDB) 63A | No. | 3 | 12000
Electrical | Concealed Conduit PVC 25mm with wiring | Rmt | 450 | 280
Electrical | 3-pin 16A Power Sockets (modular) | No. | 40 | 850
Electrical | Lighting Points (concealed) | No. | 80 | 650
Electrical | Split AC provision point 2-ton | No. | 6 | 3200
Electrical | External Service Connection (BESCOM) | LS | 1 | 45000 | Includes HT/LT charges
Plumbing | CPVC Pipe 25mm concealed hot/cold supply | Rmt | 320 | 480
Plumbing | UPVC Soil Pipe 110mm | Rmt | 90 | 650
Plumbing | Water Closet EWC with flush tank | No. | 4 | 8500
Plumbing | Wash Basin with pillar cock | No. | 4 | 5200
Plumbing | Kitchen Sink SS 24x18 single bowl | No. | 1 | 4800
Plumbing | Sump & Overhead Tank 2000L + pump | LS | 1 | 95000
Plumbing | Underground Drainage 110/160mm UPVC | Rmt | 120 | 850
HVAC | Split AC 1.5-ton 5-star with concealed piping | No. | 4 | 48000
Fire | Smoke Detectors addressable | No. | 20 | 3500
Fire | Manual Call Points | No. | 4 | 2800
Fire | Fire Alarm Control Panel | No. | 1 | 45000
IT | CAT6 Data Point with faceplates | No. | 15 | 2200
IT | Network Rack 9U wall-mount | No. | 1 | 12000